## Sheet1
Removing m17 m21 and m22 | Molecular Mass | signal | Meas x 1E8 / 140 | Simulated from Literature Patterns | Sim /100 | Ratio | Reverse Ratio | Fitted Ratio | Fitted Reverse Ratio | Consider what should happen to Butanal m28 to m18.
| 12 | 1.51e-08 | 0.010786 | 0.50294 | 0.0050294 | 2.1445 | 0.46631 | 1.6831 | 0.69541 | In the original pattern from Literature, m28 to 18 is :
| 13 | 3.38e-08 | 0.024143 | 1.3875 | 0.013875 | 1.7401 | 0.57469 | 1.6722 | 0.65011 | 9.94
| 14 | 5.92e-08 | 0.042286 | 2.8782 | 0.028782 | 1.4692 | 0.68065 | 1.6571 | 0.6139 | So a case where we have a measurement like this:
| 15 | 5.99e-08 | 0.042786 | 3.7879 | 0.037879 | 1.1295 | 0.88532 | 1.6378 | 0.58676 | m28 | m18 | m23/m18 Ratio:
| 16 | 1.78e-09 | 0.0012714 | 0.085071 | 0.00085071 | 1.4946 | 0.66909 | 1.6143 | 0.5687 | 9.94 | 1 | 9.94
| 24 | 3.25e-08 | 0.023214 | 1.3974 | 0.013974 | 1.6612 | 0.60197 | 1.2752 | 0.75107 | Should become like this:
| 25 | 1.21e-07 | 0.086429 | 6.5477 | 0.065477 | 1.32 | 0.75758 | 1.2139 | 0.81472 | m28 | m18 | m23/m18 Ratio:
| 26 | 6.63e-07 | 0.47357 | 40.2313 | 0.40231 | 1.1771 | 0.84953 | 1.1485 | 0.88745 | 9.989 | 1.5547 | 6.425
| 27 | 5.64e-07 | 0.40286 | 37.854 | 0.37854 | 1.0642 | 0.93964 | 1.0788 | 0.96926 | Final ratio:
| 28 | 1.4e-06 | 1 | 100 | 1 | 1 | 1 | 1.0049 | 1.0602 | 6.425
| 29 | 2.26e-07 | 0.16143 | 18.6505 | 0.18651 | 0.86554 | 1.1553 | 0.92686 | 1.1601 | Currently, what is coming out is like this in the mixed pattern, before standardizing:
| 30 | 2.16e-07 | 0.15429 | 22.3204 | 0.2232 | 0.69123 | 1.4467 | 0.8446 | 1.2692 | m28 | m18 | m23/m18 Ratio:
| 18 | [6 empty] | 1.5547 | 0.55981 | 14.985 | 2.3323 | 6.425 | This looks good!
And after standardizin we are getting:
[10 empty] | m28 | m18 | m23/m18 Ratio:
[10 empty] | 23.56 | 3.667 | 6.4249
So the Mixed Reference Pattern coming out is as expected.
Note on E1: Savara, Aditya Ashi: Deleted 17, 21, 22
Note on H1: Savara, Aditya Ashi: When copying out of TuningCorrectorGasMixtureSimulatedHypotheticalReferenceData.csv need to ignore m2 and m31