## Sheet1
Removing m17 m21 and m22 |  | Molecular Mass | signal | Meas x 1E8 / 140 |  | Simulated from Literature Patterns | Sim /100 | Ratio | Reverse Ratio | Fitted Ratio | Fitted Reverse Ratio |  | Consider what should happen to Butanal m28 to m18.
|  | 12 | 1.51e-08 | 0.010786 |  | 0.50294 | 0.0050294 | 2.1445 | 0.46631 | 1.6831 | 0.69541 |  | In the original pattern from Literature, m28 to 18 is :
|  | 13 | 3.38e-08 | 0.024143 |  | 1.3875 | 0.013875 | 1.7401 | 0.57469 | 1.6722 | 0.65011 |  | 9.94
|  | 14 | 5.92e-08 | 0.042286 |  | 2.8782 | 0.028782 | 1.4692 | 0.68065 | 1.6571 | 0.6139 |  | So a case where we have a measurement like this:
|  | 15 | 5.99e-08 | 0.042786 |  | 3.7879 | 0.037879 | 1.1295 | 0.88532 | 1.6378 | 0.58676 |  | m28 | m18 | m23/m18 Ratio:
|  | 16 | 1.78e-09 | 0.0012714 |  | 0.085071 | 0.00085071 | 1.4946 | 0.66909 | 1.6143 | 0.5687 |  | 9.94 | 1 | 9.94
|  | 24 | 3.25e-08 | 0.023214 |  | 1.3974 | 0.013974 | 1.6612 | 0.60197 | 1.2752 | 0.75107 |  | Should become like this:
|  | 25 | 1.21e-07 | 0.086429 |  | 6.5477 | 0.065477 | 1.32 | 0.75758 | 1.2139 | 0.81472 |  | m28 | m18 | m23/m18 Ratio:
|  | 26 | 6.63e-07 | 0.47357 |  | 40.2313 | 0.40231 | 1.1771 | 0.84953 | 1.1485 | 0.88745 |  | 9.989 | 1.5547 | 6.425
|  | 27 | 5.64e-07 | 0.40286 |  | 37.854 | 0.37854 | 1.0642 | 0.93964 | 1.0788 | 0.96926 |  | Final ratio:
|  | 28 | 1.4e-06 | 1 |  | 100 | 1 | 1 | 1 | 1.0049 | 1.0602 |  | 6.425
|  | 29 | 2.26e-07 | 0.16143 |  | 18.6505 | 0.18651 | 0.86554 | 1.1553 | 0.92686 | 1.1601 |  | Currently, what is coming out is like this in the mixed pattern, before standardizing:
|  | 30 | 2.16e-07 | 0.15429 |  | 22.3204 | 0.2232 | 0.69123 | 1.4467 | 0.8446 | 1.2692 |  | m28 | m18 | m23/m18 Ratio:
|  | 18 | [7 empty] | 1.5547 | 0.55981 |  | 14.985 | 2.3323 | 6.425 | This looks good!
And after standardizin we are getting:
[13 empty] | m28 | m18 | m23/m18 Ratio:
[13 empty] | 23.56 | 3.667 | 6.4249
So the Mixed Reference Pattern coming out is as expected.
| Nist Pattern of 1 Butanal |  |  |  | Nist Tuning Corrected Pattern of 1 Butanal |  |  | Nist Tuning Corrected Pattern of 1 Butanal Scaled to 100
| Source: | NIST |  |  | Source: | NIST_TuningCorrected |  | Source: | NIST_TuningCorrected
| Molecules | 1butanal |  |  | Molecules | 1butanal |  | Molecules | 1butanal
| Electron Numbers | 40 |  |  | Electron Numbers | 40 |  | Electron Numbers | 40 |  |  | Polynimial Fitted ratios
| Molecular Mass | 72.11 |  |  | Molecular Mass | 72.11 |  | Molecular Mass | 72.11 |  |  | Molecular Mass
| 1 | 0 |  |  | 1 | 0 |  | 1 | 0 |  |  | 1 | 1.526
| 2 | 0 |  |  | 2 | 0 |  | 2 | 0 |  |  | 2 | 1.5613
| 12 | 0.10001 |  |  | 12 | 0.16835 |  | 12 | 0.26469 |  |  | 12 | 1.6833
| 13 | 0.30003 |  |  | 13 | 0.50177 |  | 13 | 0.78893 |  |  | 13 | 1.6724
| 14 | 1.6002 |  |  | 14 | 2.6519 |  | 14 | 4.1696 |  |  | 14 | 1.6573
| 15 | 5.4005 |  |  | 15 | 8.8461 |  | 15 | 13.9086 |  |  | 15 | 1.638
| 16 | 0.20002 |  |  | 16 | 0.32293 |  | 16 | 0.50774 |  |  | 16 | 1.6145
| 17 | 0.30003 |  |  | 17 | 0.47609 |  | 17 | 0.74855 |  |  | 17 | 1.5868
| 18 | 1.5002 |  |  | 18 | 2.3326 |  | 18 | 3.6675 |  |  | 18 | 1.5549
| 19 | 0.20002 |  |  | 19 | 0.30379 |  | 19 | 0.47765 |  |  | 19 | 1.5188
| 20 | 0.10001 |  |  | 20 | 0.14786 |  | 20 | 0.23249 |  |  | 20 | 1.4785
| 21 | 0 |  |  | 21 | 0 |  | 21 | 0 |  |  | 21 | 1.434
| 22 | 0 |  |  | 22 | 0 |  | 22 | 0 |  |  | 22 | 1.3853
| 24 | 0 |  |  | 24 | 0 |  | 24 | 0 |  |  | 24 | 1.2753
| 25 | 0 |  |  | 25 | 0 |  | 25 | 0 |  |  | 25 | 1.214
| 26 | 6.3106 |  |  | 26 | 7.2478 |  | 26 | 11.3956 |  |  | 26 | 1.1485
| 27 | 58.9559 |  |  | 27 | 63.6016 |  | 27 | 100 |  |  | 27 | 1.0788
| 28 | 14.9115 |  |  | 28 | 14.9846 |  | 28 | 23.56 |  |  | 28 | 1.0049
| 29 | 53.8554 |  |  | 29 | 49.9132 |  | 29 | 78.4778 |  |  | 29 | 0.9268
| 30 | 1.2001 |  |  | 30 | 1.0135 |  | 30 | 1.5935 |  |  | 30 | 0.8445
| 31 | 2.8003 |  |  | 31 | 2.1226 |  | 31 | 3.3374 |  |  | 31 | 0.758
| 32 | 0 |  |  | 32 | 0 |  | 32 | 0 |  |  | 32 | 0.6673
| 33 | 0 |  |  | 33 | 0 |  | 33 | 0 |  |  | 33 | 0.5724
| 34 | 0 |  |  | 34 | 0 |  | 34 | 0 |  |  | 34 | 0.4733
| 36 | 0.30003 |  |  | 36 | 0.078758 |  | 36 | 0.12383 |  |  | 36 | 0.2625
| 37 | 2.7003 |  |  | 37 | 0.4072 |  | 37 | 0.64024 |  |  | 37 | 0.1508
| 38 | 4.6005 |  |  | 38 | 0.16056 |  | 38 | 0.25244 |  |  | 38 | 0.0349
| 39 | 23.1223 |  |  | 39 | -1.97 |  | 39 | -3.0974 |  |  | 39 | -0.0852
| 40 | 3.0003 |  |  | 40 | -0.62856 |  | 40 | -0.98828 |  |  | 40 | -0.2095
| 41 | 60.5561 |  |  | 41 | -20.4679 |  | 41 | -32.1815 |  |  | 41 | -0.338
| 42 | 11.9112 |  |  | 42 | -5.6066 |  | 42 | -8.8152 |  |  | 42 | -0.4707
| 43 | 78.6779 |  |  | 43 | -47.8047 |  | 43 | -75.1627 |  |  | 43 | -0.6076
| 44 | 100 |  |  | 44 | -74.87 |  | 44 | -117.7171 |  |  | 44 | -0.7487
| 45 | 3.5004 |  |  | 45 | -3.1293 |  | 45 | -4.9202 |  |  | 45 | -0.894
| 46 | 0.40004 |  |  | 46 | -0.41744 |  | 46 | -0.65634 |  |  | 46 | -1.0435
| 47 | 0 |  |  | 47 | 0 |  | 47 | 0 |  |  | 47 | -1.1972
| 48 | 0.10001 |  |  | 48 | -0.13552 |  | 48 | -0.21308 |  |  | 48 | -1.3551
| 49 | 0.50005 |  |  | 49 | -0.75868 |  | 49 | -1.1929 |  |  | 49 | -1.5172
| 50 | 1.2001 |  |  | 50 | -2.0204 |  | 50 | -3.1767 |  |  | 50 | -1.6835
| 51 | 0.80008 |  |  | 51 | -1.4833 |  | 51 | -2.3322 |  |  | 51 | -1.854
| 52 | 0.20002 |  |  | 52 | -0.40578 |  | 52 | -0.638 |  |  | 52 | -2.0287
| 53 | 2.5003 |  |  | 53 | -5.5196 |  | 53 | -8.6783 |  |  | 53 | -2.2076
| 54 | 2.3002 |  |  | 54 | -5.4992 |  | 54 | -8.6463 |  |  | 54 | -2.3907
| 55 | 3.0003 |  |  | 55 | -7.7348 |  | 55 | -12.1613 |  |  | 55 | -2.578
| 56 | 0.40004 |  |  | 56 | -1.1079 |  | 56 | -1.742 |  |  | 56 | -2.7695
| 57 | 25.8226 |  |  | 57 | -76.5691 |  | 57 | -120.3886 |  |  | 57 | -2.9652
| 58 | 1.1001 |  |  | 58 | -3.482 |  | 58 | -5.4746 |  |  | 58 | -3.1651
| 59 | 0.10001 |  |  | 59 | -0.33695 |  | 59 | -0.52979 |  |  | 59 | -3.3692
| 60 | 1.0001 |  |  | 60 | -3.5779 |  | 60 | -5.6254 |  |  | 60 | -3.5775
| 61 | 0 |  |  | 61 | 0 |  | 61 | 0 |  |  | 61 | -3.79
| 62 | 0 |  |  | 62 | 0 |  | 62 | 0 |  |  | 62 | -4.0067
| 63 | 0 |  |  | 63 | 0 |  | 63 | 0 |  |  | 63 | -4.2276
| 64 | 0 |  |  | 64 | 0 |  | 64 | 0 |  |  | 64 | -4.4527
| 65 | 0 |  |  | 65 | 0 |  | 65 | 0 |  |  | 65 | -4.682
| 66 | 0 |  |  | 66 | 0 |  | 66 | 0 |  |  | 66 | -4.9155
| 67 | 0 |  |  | 67 | 0 |  | 67 | 0 |  |  | 67 | -5.1532
| 68 | 0.10001 |  |  | 68 | -0.53956 |  | 68 | -0.84835 |  |  | 68 | -5.3951
| 69 | 0.60006 |  |  | 69 | -3.3851 |  | 69 | -5.3223 |  |  | 69 | -5.6412
| 70 | 0.20002 |  |  | 70 | -1.1784 |  | 70 | -1.8528 |  |  | 70 | -5.8915
| 71 | 7.2107 |  |  | 71 | -44.3171 |  | 71 | -69.6792 |  |  | 71 | -6.146
| 72 | 73.4773 |  |  | 72 | -470.6004 |  | 72 | -739.9188 |  |  | 72 | -6.4047
| 73 | 4.7005 |  |  | 73 | -31.3409 |  | 73 | -49.2768 |  |  | 73 | -6.6676
| 74 | 0.30003 |  |  | 74 | -2.0806 |  | 74 | -3.2713 |  |  | 74 | -6.9347
| 75 | 0.10001 |  |  | 75 | -0.72067 |  | 75 | -1.1331 |  |  | 75 | -7.206
| 84 | 0 |  |  | 84 | 0 |  | 84 | 0 |  |  | 84 | -9.8367
| 85 | 0 |  |  | 85 | 0 |  | 85 | 0 |  |  | 85 | -10.15
| 86 | 0 |  |  | 86 | 0 |  | 86 | 0 |  |  | 86 | -10.4675
| 87 | 0 |  |  | 87 | 0 |  | 87 | 0 |  |  | 87 | -10.7892
| 88 | 0 |  |  | 88 | 0 |  | 88 | 0 |  |  | 88 | -11.1151
| 89 | 0 |  |  | 89 | 0 |  | 89 | 0 |  |  | 89 | -11.4452
| 90 | 0 |  |  | 90 | 0 |  | 90 | 0 |  |  | 90 | -11.7795
Note on E1: Savara, Aditya Ashi: Deleted 17, 21, 22
Note on H1: Savara, Aditya Ashi: When copying out of TuningCorrectorGasMixtureSimulatedHypotheticalReferenceData.csv need to ignore m2 and m31